## Sheet1
item_code | cost_account | wbs_code | item | description | type | unit | quantity | dry | price | arabic description | division | sub division | sub division 2 | kcc_qty | subcon | material | man_power
1 | S1.P1.OA.1 |  |  | ‏FOUNDATION | [5 empty] | الأساسات | ‏FOUNDATION
1.1 | S1.P1.OA.1.1 |  |  | Isolated and Combined Footing | [5 empty] | القواعد المنفصلة والمدمجة | ‏FOUNDATION | Isolated and Combined Footing
1.1.1 | S1.P1.OA.1.1.1 |  | Excavation, unclassified materials, commencing at reduced level, including removal of excess excavated materials from site | Excavation, unclassified materials, commencing at reduced level, including removal of excess excavated materials from site | CIVIL | م3 | 3050 | #VALUE! | 17 | حفريات بمستوى منخفض ، مواد غير مصنفه شاملاً نقل فائض مواد الحفر من الموقع | ‏FOUNDATION | Isolated and Combined Footing |  | 2951.617 | 10 |  | 2
1.1.2 | S1.P1.OA.1.1.2 |  | Filling and Backfilling to excavation, compacted in layers | Filling and Backfilling to excavation, compacted in layers | CIVIL | م3 | 1690 | #VALUE! | 24 | ردم وإعادة ردم الحفريات , والدك على طبقات | ‏FOUNDATION | Isolated and Combined Footing |  | 4176.5205 | 8 |  | 7
1.1.3 | S1.P1.OA.1.1.3 |  | Cast-in-Place Lean Concrete, 18 Mpa, Type I with micro silica, 75 mm thick | Cast-in-Place Lean Concrete, 18 Mpa, Type I with micro silica, 75 mm thick | CIVIL | م2 | 613 | #VALUE! | 43 | خرسانة عادية صب الموقع 18 م.ب. أ، نوع 1مع ميكروسليكا1 , سمك 75 ملم | ‏FOUNDATION | Isolated and Combined Footing |  | 659.6475 |  | 19.125 | 6.5
1.1.4 | S1.P1.OA.1.1.4 |  | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, protective coating, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, protective coating, formworks and accessories. | CIVIL | م3 | 258 | #VALUE! | 1272 | خرسانة صب الموقع 30 م ب ، نوع 1، مع ميكروسليكا شاملاً التسليح المغطى بطبقة من الإيبوكسي وطبقة حماية والقوالب وكافة المستلزمات | ‏FOUNDATION | Isolated and Combined Footing |  | 215.352 |  | 697.8 | 150
1.1.5 | S1.P1.OA.1.1.5 |  | Select Fill Material, 200 mm thick; compacted in layers | Select Fill Material, 200 mm thick; compacted in layers |  | م3 |  | #VALUE! |  | مواد ردم مختارة ، سمك 200ملم ، مع الدك على طبقات | ‏FOUNDATION | Isolated and Combined Footing |  | 560.9604 | 17 |  | 5
1.1.6 | S1.P1.OA.1.1.6 |  | Boulder- Gravel Mixture, 300 mm thick (Max size 100 mm) | Crushed Stone/Gravel Fill, 500 mm thick, compacted in layers | CIVIL | م3 | 610 | #VALUE! | 42 | خليط حصى ، سمك 300ملم ( بحد أقصى 100ملم في الحجم) | ‏FOUNDATION | Isolated and Combined Footing |  | 841.4406 | 21 |  | 5
1.2 | S1.P1.OA.1.2 |  |  | Column Pier | [5 empty] | دعائم الأعمدة | ‏FOUNDATION | Column Pier
1.2.1 | S1.P1.OA.1.2.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, protective coating, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, protective coating, formworks and accessories. | CIVIL | م3 | 44 | #VALUE! | 2369 | خرسانة صب الموقع 30 م ب ، نوع 1، مع ميكروسليكا شاملاً التسليح المغطى بطبقة من الإيبوكسي وطبقة حماية والقوالب وكافة المستلزمات | ‏FOUNDATION | Column Pier |  | 25.0268 |  | 1279.2 | 300
1.3 | S1.P1.OA.1.3 |  |  | Grade Beam | [5 empty] | كمرات التسوية | ‏FOUNDATION | Grade Beam
1.3.1 | S1.P1.OA.1.3.1 |  | Excavation, unclassified materials, commencing at finished grade level, including removal of excess excavated materials from site | Excavation, unclassified materials, commencing at finished grade level, including removal of excess excavated materials from site | CIVIL | م3 | 47 | #VALUE! | 20 | حفريات ، مواد غير مصنفه تبدأ بمستوى مشطب شاملاً نقل فائض مواد الحفر من الموقع | ‏FOUNDATION | Grade Beam |  | 201.8683 | 10 |  | 2
1.3.2 | S1.P1.OA.1.3.2 |  | Filling and Backfilling to excavation, compacted in layers | Filling and Backfilling to excavation, compacted in layers | CIVIL | م3 | 10 | #VALUE! | 24 | ردم وإعادة ردم الحفريات , والدك على طبقات | ‏FOUNDATION | Grade Beam |  | 51.0138 | 8 |  | 7
1.3.3 | S1.P1.OA.1.3.3 |  | Cast-in-Place Lean Concrete, 18 Mpa, Type I with micro silica, 50 mm thick | Cast-in-Place Lean Concrete, 18 Mpa, Type I with micro silica, 50 mm thick | CIVIL | م2 | 282 | #VALUE! | 29 | خرسانة عادية صب الموقع 18 م.ب. أ، نوع 1مع ميكروسليكا1 , سمك 50 ملم | ‏FOUNDATION | Grade Beam |  | 258.655 |  | 12.75 | 6.5
1.3.4 | S1.P1.OA.1.3.4 |  | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, protective coating, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, protective coating, formworks and accessories. | CIVIL | م3 | 94 | #VALUE! | 1587 | خرسانة صب الموقع 30 م ب ، نوع 1، مع ميكروسليكا شاملاً التسليح المغطى بطبقة من الإيبوكسي وطبقة حماية والقوالب وكافة المستلزمات | ‏FOUNDATION | Grade Beam |  | 86.908 |  | 808 | 250
1.4 | S1.P1.OA.1.4 |  |  | Slab-on-Grade & Wall Footing | [5 empty] | بلاطات التسوية الأرضية وقواعد الجدران | ‏FOUNDATION | Slab-on-Grade & Wall Footing
1.4.1 | S1.P1.OA.1.4.1 |  | Fill to make-up levels under slab on grade: compacted in layers | Fill to make-up levels under slab on grade: compacted in layers | CIVIL | م3 | 358 | #VALUE! | 24 | الردم بعمل مناسيب تحت بلاط الأرضية، مع الدك على طبقات | ‏FOUNDATION | Slab-on-Grade & Wall Footing |  | 3739.04 | 8 |  | 7
1.4.2 | S1.P1.OA.1.4.2 |  | Granular Fill (hard-core) to make up levels under slab on grade; compacted in layers | Granular Fill (hard-core) to make up levels under slab on grade; compacted in layers | CIVIL | م3 | 197 | #VALUE! | 36 | أعمال الردم الحبيبية للتسوية تحت بلاط الأرضية ، مع الدك على طبقات | ‏FOUNDATION | Slab-on-Grade & Wall Footing |  | 236.6481 | 17 |  | 5
1.4.3 | S1.P1.OA.1.4.3 |  | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, vapor barrier, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, vapor barrier, formworks and accessories. | CIVIL | م3 | 141 | #VALUE! | 978 | خرسانه صب الموقع، 30 م.ب. أ، نوع 1، مع ميكروسليكا شاملا التسليح المغطى بطبقة من الإيبوكسي وحاجز بخاري والقوالب والمستلزمات | ‏FOUNDATION | Slab-on-Grade & Wall Footing |  | 121.358 |  | 501.6 | 150
1.5 | S1.P1.OA.1.5 |  |  | Termite Control | [5 empty] | مكافحة النمل الأبيض | ‏FOUNDATION | Termite Control
1.5.1 | S1.P1.OA.1.5.1 |  | Soil Treatment for termite control | Soil Treatment for termite control | CIVIL | م2 | 1310 | #VALUE! | 7 | معالجة التربه لمكافحة النمل الأبيض | ‏FOUNDATION | Termite Control |  | 2810.1 | 4
1.6 | S1.P1.OA.1.6 |  |  | Concrete Steps | [5 empty] | درج خرساني | ‏FOUNDATION | Concrete Steps
1.6.1 | S1.P1.OA.1.6.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 1 | #VALUE! | 1172 | خرسانة صب الموقع 30 م ب ، نوع 1، مع ميكروسليكا شاملاً التسليح المغطى بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | ‏FOUNDATION | Concrete Steps |  | 0.568 |  | 630.8 | 150
1.7 | S1.P1.OA.1.7 |  |  | Concrete Ramp | [5 empty] | المنحدر الخرساني | ‏FOUNDATION | Concrete Ramp
1.7.1 | S1.P1.OA.1.7.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I with micro silica, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 1 | #VALUE! | 1137 | خرسانة صب الموقع 30 م ب ، نوع 1، مع ميكروسليكا شاملاً التسليح المغطى بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | ‏FOUNDATION | Concrete Ramp |  | 0.2709 |  | 608 | 150
1.8 | S1.P1.OA.1.8 |  |  | Concrete Walkways | [5 empty] | ممرات خرسانية | ‏FOUNDATION | Concrete Walkways
1.8.1 | S1.P1.OA.1.8.1 |  | Interlocking Concrete Pavers, 60 mm thick, including 50 mm sand setting bed, 100 mm aggregate base course, and precast concrete curbstone as per Dwg 1-XG-C-43 | Interlocking Concrete Pavers, 60 mm thick, including 50 mm sand setting bed, 100 mm aggregate base course, and precast concrete curbstone as per Dwg 1-XG-C-43 | CIVIL | م2 | 278 | #VALUE! | 84 | أرصفة خرسانية متشابكة سمك 60 ملم شاملا طبقة فرشة رملية سمك 50ملم , طبقة أساس حصوية سمك 100ملم وبرودورات خرسانية جاهزة حسب المخطط | ‏FOUNDATION | Concrete Walkways |  | 305.72 | 25 | 12 | 15
2 | S1.P1.OA.2 |  |  | BASEMENT CONSTRUCTION |  | غير مطلوب |  |  |  | إنشاءات الأقبية | BASEMENT CONSTRUCTION
3 | S1.P1.OA.3 |  |  | SUPERSTRUCTURE | [5 empty] | الإنشاءات العلوية | SUPERSTRUCTURE
3.1 | S1.P1.OA.3.1 |  |  | First Floor Construction | [5 empty] | انشاء الدور الأول | SUPERSTRUCTURE | First Floor Construction
3.1.1 | S1.P1.OA.3.1.1 |  |  | Column Supporting Floor | [5 empty] | أعمدة داعمة للأرضيات | SUPERSTRUCTURE | First Floor Construction | Column Supporting Floor
3.1.1.1 | S1.P1.OA.3.1.1.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 37 | #VALUE! | 2043 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | First Floor Construction | Column Supporting Floor | 36.595 |  | 1061.8 | 300
3.1.2 | S1.P1.OA.3.1.2 |  |  | Floor Girder and Beam | [5 empty] | عوارض وكمرات ارضية | SUPERSTRUCTURE | First Floor Construction | Floor Girder and Beam
3.1.2.1 | S1.P1.OA.3.1.2.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 121 | #VALUE! | 1677 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | First Floor Construction | Floor Girder and Beam | 109.197 |  | 868 | 250
3.1.3 | S1.P1.OA.3.1.3 |  |  | Floor Slab | [5 empty] | بلاطة الأرضية | SUPERSTRUCTURE | First Floor Construction | Floor Slab
3.1.3.1 | S1.P1.OA.3.1.3.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 193 | #VALUE! | 1689 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | First Floor Construction | Floor Slab | 174.654 |  | 875.6 | 250
3.2 | S1.P1.OA.3.2 |  |  | Roof Construction | [5 empty] | انشاء الأسطح | SUPERSTRUCTURE | Roof Construction
3.2.1 | S1.P1.OA.3.2.1 |  |  | Column Supporting Roof | [5 empty] | الأعمدة الداعمة للأسطح | SUPERSTRUCTURE | Roof Construction | Column Supporting Roof
3.2.1.1 | S1.P1.OA.3.2.1.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 38 | #VALUE! | 2043 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | Roof Construction | Column Supporting Roof | 36.032 |  | 1061.8 | 300
3.2.2 | S1.P1.OA.3.2.2 |  |  | Roof Girder and Beam | [5 empty] | عوارض وكمرات السطح | SUPERSTRUCTURE | Roof Construction | Roof Girder and Beam
3.2.2.1 | S1.P1.OA.3.2.2.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 146 | #VALUE! | 1677 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | Roof Construction | Roof Girder and Beam | 80.4848 |  | 868 | 250
3.2.3 | S1.P1.OA.3.2.3 |  |  | Roof Slab | [5 empty] | بلاطة السطح | SUPERSTRUCTURE | Roof Construction | Roof Slab
3.2.3.1 | S1.P1.OA.3.2.3.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 178 | #VALUE! | 1689 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | Roof Construction | Roof Slab | 163.5858 |  | 875.6 | 250
3.2.4 | S1.P1.OA.3.2.4 |  |  | Equipment Pad | [5 empty] | قاعدة للمعدات | SUPERSTRUCTURE | Roof Construction | Equipment Pad
3.2.4.1 | S1.P1.OA.3.2.4.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 24 | #VALUE! | 1427 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | Roof Construction | Equipment Pad | 9.301 |  | 801 | 150
3.3 | S1.P1.OA.3.3 |  |  | Upper Roof Framing | [5 empty] | إطارات السطح العلوي | SUPERSTRUCTURE | Upper Roof Framing
3.3.1 | S1.P1.OA.3.3.1 |  |  | Planted Column Supporting Roof | [5 empty] | الأعمدة المغروسة الداعمة للأسطح | SUPERSTRUCTURE | Upper Roof Framing | Planted Column Supporting Roof
3.3.1.1 | S1.P1.OA.3.3.1.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 4 | #VALUE! | 2454 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | Upper Roof Framing | Planted Column Supporting Roof | 1.96 |  | 1335.4 | 300
3.3.2 | S1.P1.OA.3.3.2 |  |  | Roof Girder and Beam | [5 empty] | عوارض وكمرات السطح | SUPERSTRUCTURE | Upper Roof Framing | Roof Girder and Beam
3.3.2.1 | S1.P1.OA.3.3.2.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 3 | #VALUE! | 1845 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | Upper Roof Framing | Roof Girder and Beam | 4.296 |  | 868 | 250
3.3.3 | S1.P1.OA.3.3.3 |  |  | Roof Slab | [5 empty] | بلاطة السطح | SUPERSTRUCTURE | Upper Roof Framing | Roof Slab
3.3.3.1 | S1.P1.OA.3.3.3.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 5 | #VALUE! | 1689 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | Upper Roof Framing | Roof Slab | 4.374 |  | 875.6 | 250
3.4 | S1.P1.OA.3.4 |  |  | Lower Roof and Upper Roof Parapet | [5 empty] | دروات للأسطح السفلية والعلوية | SUPERSTRUCTURE | Upper Roof Framing | Lower Roof and Upper Roof Parapet
3.4.1 | S1.P1.OA.3.4.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 23 | #VALUE! | 1073 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | SUPERSTRUCTURE | Upper Roof Framing | Lower Roof and Upper Roof Parapet | 20.188 |  | 465.2 | 250
4 | S1.P1.OA.4 |  |  | EXTERIOR CLOSURE | [5 empty] | السور الخارجي | EXTERIOR CLOSURE
4.1 | S1.P1.OA.4.1 |  |  | Exterior Walls, including lintels, flashing and accessories | [5 empty] | الجدران الخارجية شاملة العتبات والتسوية والمستلزمات | EXTERIOR CLOSURE | Exterior Walls, including lintels, flashing and accessories
4.1.1 | S1.P1.OA.4.1.1 |  | Cavity Wall, 300 mm thick, consists of 100 mm and 150 mm thick concrete masonry units, and 50 mm thick rigid insulation. | Cavity Wall, 300 mm thick, consists of 100 mm and 150 mm thick concrete masonry units, and 50 mm thick rigid insulation. | ARCH | عدد | 1396 | #VALUE! | 126 | جدار مجوف300ملم , يتألف من بلوك خرساني سمك 100ملم , وطبقة عزل صلب سمك 50ملم وبلوك سمك 150ملم | EXTERIOR CLOSURE | Exterior Walls, including lintels, flashing and accessories |  |  |  | 69.55 | 44.2
4.1.2 | S1.P1.OA.4.1.2 |  | Concrete Masonry Unit, 200 mm thick | Concrete Masonry Unit, 200 mm thick | ARCH | عدد | 125 | #VALUE! | 59 | جدران من البلوك الخرساني سمك 200 ملم | EXTERIOR CLOSURE | Exterior Walls, including lintels, flashing and accessories |  |  |  | 30.75 | 22.1
4.2 | S1.P1.OA. 4.2 |  |  | Exterior Finishes | [5 empty] | التشطيبات الخارجية | EXTERIOR CLOSURE | Exterior Finishes
4.2.1 | S1.P1.OA.4.2.1 |  |  | Wall Finishes | [5 empty] | تشطيب الجدران | EXTERIOR CLOSURE | Exterior Finishes | Wall Finishes
4.2.1.1 | S1.P1.OA.4.2.1.1 |  | Portland Cement Plaster on concrete and masonry surfaces with groove | Portland Cement Plaster on concrete and masonry surfaces with groove | ARCH | م2 | 2285 | #VALUE! | 35 | لياسة أسمنت بورتلاندي على الخرسانة وأسطح البناء مع تجويف | EXTERIOR CLOSURE | Exterior Finishes | Wall Finishes | 2285 |  | 11 | 20
4.2.1.2 | S1.P1.OA.4.2.1.2 |  | Painting on cement plaster surfaces, latex aggregate paint | Painting on cement plaster surfaces, latex aggregate paint | ARCH | م2 | 2285 | #VALUE! | 25 | دهان على أوجه اللياسة الأسمنتية ، تشطيب لاتكس خشن | EXTERIOR CLOSURE | Exterior Finishes | Wall Finishes | 2285 |  | 12 | 10
4.2.2 | S1.P1.OA.4.2.2 |  |  | Floor Finishes | [5 empty] | تشطيب الأرضيات | EXTERIOR CLOSURE | Exterior Finishes | Floor Finishes
4.2.2.1 | S1.P1.OA.4.2.2.1 |  | Granite Tile | Granite Tile | ARCH | م2 | 29 | #VALUE! | 193 | بلاط جرانيت | EXTERIOR CLOSURE | Exterior Finishes | Floor Finishes | 29 | 120 | 15 | 40
4.2.2.2 | S1.P1.OA.4.2.2.2 |  | Floor Hardener with Epoxy Paint | Floor Hardener with Epoxy Paint | ARCH | م2 | 5 | #VALUE! | 37 | مقوي للبلاط مع طلاء إيبوكسي | EXTERIOR CLOSURE | Exterior Finishes | Floor Finishes | 5 |  | 18 | 15
4.2.2.3 | S1.P1.OA.4.2.2.3 |  | Granite Tread, 340 mm x 3600 mm x 30 mm thick, with carborundum inserts | Granite Tread, 340 mm x 3600 mm x 30 mm thick, with carborundum inserts | ARCH | عدد | 2 | #VALUE! | 316 | نائمة درج من الجرانيت 340ملم×3600ملم ×30ملم مع حشوات كاربورندم | EXTERIOR CLOSURE | Exterior Finishes | Floor Finishes | 2 | 262.08 | 10 | 15
4.2.2.4 | S1.P1.OA.4.2.2.4 |  | Granite Riser, 130 mm x 3600 mm x 20 mm thick | Granite Riser, 130 mm x 3600 mm x 20 mm thick | ARCH | عدد | 2 | #VALUE! | 86 | قائمة درج من الجرانيت 130ملم×3600ملم×20ملم | EXTERIOR CLOSURE | Exterior Finishes | Floor Finishes | 2 | 56.16 | 10 | 12
4.2.2.5 | S1.P1.OA.4.2.2.5 |  | Granite Tread, 340 mm x 1450 mm x 30 mm thick, with carborundum inserts | Granite Tread, 340 mm x 1450 mm x 30 mm thick, with carborundum inserts | ARCH | عدد | 2 | #VALUE! | 144 | نائمة درج من الجرانيت 340ملم×1450ملم ×30ملم مع حشوات كاربورندم | EXTERIOR CLOSURE | Exterior Finishes | Floor Finishes | 2 | 105.56 | 10 | 15
4.2.2.6 | S1.P1.OA.4.2.2.6 |  | Granite Riser, 130 mm x 1450 mm x 20 mm thick | Granite Riser, 130 mm x 1450 mm x 20 mm thick | ARCH | عدد | 2 | #VALUE! | 50 | قائمة درج من الجرانيت 130ملم×1450ملم×20ملم | EXTERIOR CLOSURE | Exterior Finishes | Floor Finishes | 2 | 22.62 | 10 | 12
4.2.2.7 | S1.P1.OA.4.2.2.7 |  | Granite Base, 100 mm high | Granite Base, 100 mm high | ARCH | م ط | 10 | #VALUE! | 43 | وزرة من الجرانيت بإرتفاع 100 ملم | EXTERIOR CLOSURE | Exterior Finishes | Floor Finishes | 10 | 17 | 10 | 12
4.2.3 | S1.P1.OA.4.2.3 |  |  | Ceiling Finishes | [5 empty] | تشطيبات السقف | EXTERIOR CLOSURE | Exterior Finishes | Ceiling Finishes
4.2.3.1 | S1.P1.OA.4.2.3.1 |  | Painting on fairface concrete surfaces, latex aggregate paint | Painting on fairface concrete surfaces, latex aggregate paint | ARCH | م2 | 12 | #VALUE! | 25 | دهان على أوجه اللياسة الخراسانية ، تشطيب لاتكس خشن | EXTERIOR CLOSURE | Exterior Finishes | Ceiling Finishes | 12 |  | 12 | 10
4.3 | S1.P1.OA.4.3 |  |  | Exterior Aluminum Windows, including glass, glazing, hardware, insect screen, accessories and sealants. | [5 empty] | شبابيك ألمنيوم خارجية شاملة الزجاج والعزل وشبك مانع للحشرات والأدوات والمستلزمات والحشوات | EXTERIOR CLOSURE | Exterior Aluminum Windows, including glass, glazing, hardware, insect screen, accessories and sealants.
4.3.1 | S1.P1.OA.4.3.1 |  | Type A, 1000 mm x 1000 mm | Type A, 1000 mm x 1000 mm | ARCH | عدد | 40 | #VALUE! | 1855 | نوع A قياس 1000 ملم × 1000 ملم | EXTERIOR CLOSURE | Exterior Aluminum Windows, including glass, glazing, hardware, insect screen, accessories and sealants. |  | 40 | 1686
4.3.2 | S1.P1.OA.4.3.2 |  | Type B, 400 mm x 600 mm | Type B, 400 mm x 600 mm | ARCH | عدد | 24 | #VALUE! | 1056 | نوع B قياس 400 ملم × 600 ملم | EXTERIOR CLOSURE | Exterior Aluminum Windows, including glass, glazing, hardware, insect screen, accessories and sealants. |  | 24 | 960
4.3.3 | S1.P1.OA.4.3.3 |  | Type C, 1000 mm x 1000 mm | Type C, 1000 mm x 1000 mm | ARCH | عدد | 18 | #VALUE! | 1855 | نوع C قياس 1000 ملم × 1000 ملم | EXTERIOR CLOSURE | Exterior Aluminum Windows, including glass, glazing, hardware, insect screen, accessories and sealants. |  | 18 | 1686
4.3.4 | S1.P1.OA.4.3.4 |  | Type D, 400 mm x 600 mm | Type D, 400 mm x 600 mm | ARCH | عدد | 8 | #VALUE! | 1056 | نوع D قياس 400 ملم × 600 ملم | EXTERIOR CLOSURE | Exterior Aluminum Windows, including glass, glazing, hardware, insect screen, accessories and sealants. |  | 8 | 960
4.3.5 | S1.P1.OA.4.3.5 |  | Type E, 1000 mm x 1000 mm | Type E, 1000 mm x 1000 mm | ARCH | عدد | 16 | #VALUE! | 1855 | نوع E قياس 1000 ملم × 1000 ملم | EXTERIOR CLOSURE | Exterior Aluminum Windows, including glass, glazing, hardware, insect screen, accessories and sealants. |  | 16 | 1686
4.3.6 | S1.P1.OA.4.3.6 |  | Type F, 400 mm x 600 mm | Type F, 400 mm x 600 mm | ARCH | عدد | 8 | #VALUE! | 1056 | نوع F قياس 400 ملم × 600 ملم | EXTERIOR CLOSURE | Exterior Aluminum Windows, including glass, glazing, hardware, insect screen, accessories and sealants. |  | 8 | 960
4.3.7 | S1.P1.OA.4.3.7 |  | Type G, 4000 mm x 1150 mm | Type G, 4000 mm x 1150 mm | ARCH | عدد | 1 | #VALUE! | 5914 | نوع G قياس 4000 ملم × 1150 ملم | EXTERIOR CLOSURE | Exterior Aluminum Windows, including glass, glazing, hardware, insect screen, accessories and sealants. |  | 1 | 5376
4.4 | S1.P1.OA.4.4 |  |  | Exterior Entrance Doors, including frames, hardwares, thresholds, painting or staining and joint sealants | [5 empty] | أبواب مداخل خارجية شاملة قطع التركيب و العتبات والجلسات والحشوات وموانع التسرب | EXTERIOR CLOSURE | Exterior Entrance Doors, including frames, hardwares, thresholds, painting or staining and joint sealants
4.4.1 | S1.P1.OA.4.4.1 |  |  | Aluminum Door | [5 empty] | باب ألمونيوم | EXTERIOR CLOSURE | Aluminum Door
4.4.1.1 | S1.P1.OA.4.4.1.1 |  | Type A, 4000 mm x 2150 mm, with fixed side panel | Type A, 4000 mm x 2150 mm, with fixed side panel | ARCH | عدد | 1 | #VALUE! | 8600 | نوع A قياس 4000 ملم × 2150 ملم مع لوح جانبي | EXTERIOR CLOSURE | Aluminum Door |  | 1 | 7818
4.4.2 | S1.P1.OA.4.4.2 |  |  | Hollow Metal Door | [5 empty] | باب معدني مجوف | EXTERIOR CLOSURE | Hollow Metal Door
4.4.2.1 | S1.P1.OA.4.4.2.1 |  | Type B, 1200 mm x 2150 mm | Type B, 1200 mm x 2150 mm | ARCH | عدد | 2 | #VALUE! | 1880 | نوع B قياس 1200 ملم × 2150 ملم | EXTERIOR CLOSURE | Hollow Metal Door |  | 2 | 902 | 606.5 | 200
4.4.3 | S1.P1.OA.4.4.3 |  |  | Steel Louvered Door | [5 empty] | باب بفتحة معدنية | EXTERIOR CLOSURE | Steel Louvered Door
4.4.3.1 | S1.P1.OA.4.4.3.1 |  | Type G, 1000 mm x 2150 mm | Type G, 1000 mm x 2150 mm | ARCH | عدد | 1 | #VALUE! | 2543 | نوع G قياس 1000 ملم × 2150 ملم | EXTERIOR CLOSURE | Steel Louvered Door |  | 1 | 1516 | 595.75 | 200
4.5 | S1.P1.OA.4.5 |  |  | Precast Concrete Items | [5 empty] | عناصر خرسانية جاهزة | EXTERIOR CLOSURE | Precast Concrete Items
4.5.1 | S1.P1.OA.4.5.1 |  | PCC Surround for Type "A" Windows | PCC Surround for Type "A" Windows | ARCH | عدد | 40 | #VALUE! | 220 | حلية خرسانية جاهزة لنوافذ فئة A | EXTERIOR CLOSURE | Precast Concrete Items |  | 40 | 200
4.5.2 | S1.P1.OA.4.5.2 |  | PCC Surround for Type "B" Windows | PCC Surround for Type "B" Windows | ARCH | عدد | 24 | #VALUE! | 110 | حلية خرسانية جاهزة لنوافذ فئة B | EXTERIOR CLOSURE | Precast Concrete Items |  | 24 | 100
4.5.3 | S1.P1.OA.4.5.3 |  | PCC Surround for Type "C" Windows | PCC Surround for Type "C" Windows | ARCH | عدد | 18 | #VALUE! | 220 | حلية خرسانية جاهزة لنوافذ فئة C | EXTERIOR CLOSURE | Precast Concrete Items |  | 18 | 200
4.5.4 | S1.P1.OA.4.5.4 |  | PCC Surround for Type "D" Windows | PCC Surround for Type "D" Windows | ARCH | عدد | 8 | #VALUE! | 110 | حلية خرسانية جاهزة لنوافذ فئة D | EXTERIOR CLOSURE | Precast Concrete Items |  | 8 | 100
4.5.5 | S1.P1.OA.4.5.5 |  | PCC Surround for Type "E" Windows | PCC Surround for Type "E" Windows | ARCH | عدد | 16 | #VALUE! | 220 | حلية خرسانية جاهزة لنوافذ فئة E | EXTERIOR CLOSURE | Precast Concrete Items |  | 16 | 200
4.5.6 | S1.P1.OA.4.5.6 |  | PCC Surround for Type "F" Windows | PCC Surround for Type "F" Windows | ARCH | عدد | 8 | #VALUE! | 110 | حلية خرسانية جاهزة لنوافذ فئة F | EXTERIOR CLOSURE | Precast Concrete Items |  | 8 | 100
4.5.7 | S1.P1.OA.4.5.7 |  | PCC Surround for Type "G" Windows | PCC Surround for Type "G" Windows | ARCH | عدد | 1 | #VALUE! | 567 | حلية خرسانية جاهزة لنوافذ فئة G | EXTERIOR CLOSURE | Precast Concrete Items |  | 1 | 515
4.5.8 | S1.P1.OA.4.5.8 |  | Precast Concrete Coping | Precast Concrete Coping | ARCH | م ط | 308 | #VALUE! | 83 | إفريز مائل خرساني جاهز | EXTERIOR CLOSURE | Precast Concrete Items |  | 308 | 75
4.5.9 | S1.P1.OA.4.5.9 |  | PCC Sorround @ Light Well | PCC Sorround @ Light Well | ARCH | عدد | 8 | #VALUE! | 220 | حلية خرسانية جاهزه عند نقطة الإضاءة | EXTERIOR CLOSURE | Precast Concrete Items |  | 8 | 200
4.5.10 | S1.P1.OA.4.5.10 |  | Mashrabia 1300 mm x 1400 mm | Mashrabia 1300 mm x 1400 mm | ARCH | عدد | 8 | #VALUE! | 501 | مشربية 1300×1400ملم | EXTERIOR CLOSURE | Precast Concrete Items |  | 8 | 455
4.5.11 | S1.P1.OA.4.5.11 |  | Mashrabia 1000 mm x 2190 mm | Mashrabia 1000 mm x 2190 mm | ARCH | عدد | 64 | #VALUE! | 603 | مشربية 1000×2190ملم | EXTERIOR CLOSURE | Precast Concrete Items |  | 64 | 547.5
4.5.12 | S1.P1.OA.4.5.12 |  | Mashrabia 1000 mm x 1810 mm | Mashrabia 1000 mm x 1810 mm | ARCH | عدد | 64 | #VALUE! | 498 | مشربية 1000×1810ملم | EXTERIOR CLOSURE | Precast Concrete Items |  | 64 | 452.5
4.5.13 | S1.P1.OA.4.5.13 |  | Mashrabia 1000 mm x 1000 mm | Mashrabia 1000 mm x 1000 mm | ARCH | عدد | 40 | #VALUE! | 275 | مشربية 1000×1000ملم | EXTERIOR CLOSURE | Precast Concrete Items |  | 40 | 250
4.5.14 | S1.P1.OA.4.5.14 |  | Mashrabia 400 mm x 600 mm | Mashrabia 400 mm x 600 mm | ARCH | عدد | 24 | #VALUE! | 99 | مشربية 400×600ملم | EXTERIOR CLOSURE | Precast Concrete Items |  | 24 | 90
4.5.15 | S1.P1.OA.4.5.15 |  | Mashrabia 2150 mm x 1550 mm | Mashrabia 2150 mm x 1550 mm | ARCH | عدد | 4 | #VALUE! | 917 | مشربية 2150×1550ملم | EXTERIOR CLOSURE | Precast Concrete Items |  | 4 | 833.125
4.5.16 | S1.P1.OA.4.5.16 |  | Mashrabia 1550 mm x 1550 mm | Mashrabia 1550 mm x 1550 mm | ARCH | عدد | 4 | #VALUE! | 661 | مشربية 1550×1550ملم | EXTERIOR CLOSURE | Precast Concrete Items |  | 4 | 600.625
4.6 | S1.P1.OA.4.6 |  |  | Metal Fabrications | [5 empty] | مشغولات معدنية | EXTERIOR CLOSURE | Metal Fabrications
4.6.1 | S1.P1.OA.4.6.1 |  | Stainless Steel Pipe Handrailing, 50 mm dia x 4350 mm long with all fixing & support | Stainless Steel Pipe Handrailing, 50 mm dia x 4350 mm long with all fixing & support | ARCH | عدد | 1 | #VALUE! | 5144 | درابزين حديد لا يصدأ بقطر50ملم وطول 4350ملم ، مع التثبيت والدعامات | EXTERIOR CLOSURE | Metal Fabrications |  | 1 | 4676.25
4.6.2 | S1.P1.OA.4.6.2 |  | Steel Ladder with Handrail Support (40 mm dia x 5700 mm long) | Steel Ladder with Handrail Support (40 mm dia x 5700 mm long) | ARCH | عدد | 1 | #VALUE! | 6270 | سلم حديدي ودرابزين يدوي بقطر 40 ملم وطول 5700ملم | EXTERIOR CLOSURE | Metal Fabrications |  | 1 | 5700
4.7 | S1.P1.OA.4.7 |  |  | Identifying Devices | [5 empty] | وسائل التعريف | EXTERIOR CLOSURE | Identifying Devices
4.7.1 | S1.P1.OA.4.7.1 |  | TS-A, Building Numbers | TS-A, Building Numbers | ARCH | عدد | 1 | #VALUE! | 275 | أرقام المباني TS-A | EXTERIOR CLOSURE | Identifying Devices |  | 1 | 250
5 | S1.P1.OA.5 |  |  | ROOFING | [5 empty] | الأسطح | ROOFING
5.1 | S1.P1.OA.5.1 |  | Protected Membrane Roofing on Concrete Slab | Protected Membrane Roofing on Concrete Slab | ARCH | م2 | 1327 | #VALUE! | 121 | نظام عزل الأسطح فوق البلاطة الخرسانية للسطح | ROOFING |  |  | 1197.63 | 104.7411 | 5
5.2 | S1.P1.OA.5.2 |  | Protected Membrane Roofing System on Concrete Slab @ canopy | Protected Membrane Roofing System on Concrete Slab @ canopy | ARCH | م2 | 11 | #VALUE! | 121 | نظام عزل للسطح على البلاطة الخرسانية | ROOFING |  |  | 9.88 | 104.7411 | 5
5.3 | S1.P1.OA.5.3 |  | Roof Drain, including downspouts and all accessories | Roof Drain, including downspouts and all accessories |  | عدد | 12 | #VALUE! | 495 | نظام تصريف بالسطح شاملة المزاريب والمستلزمات | ROOFING |  |  |  | 450
5.4 | S1.P1.OA.5.4 |  | Precast Concrete Pavers, 400 mm x 400 mm x 30 mm thick | Precast Concrete Pavers, 400 mm x 400 mm x 30 mm thick | ARCH | عدد | 14 | #VALUE! | 33 | أرصفة خرسانية 400×400×30ملم | ROOFING |  |  | 12 | 25 |  | 5
6 | S1.P1.OA.6 |  |  | INTERIOR CONSTRUCTION | [5 empty] | الإنشاءات الداخلية | INTERIOR CONSTRUCTION
6.1 | S1.P1.OA.6.1 |  |  | Interior Walls, including lintels, flashing and accessories | [5 empty] | الجدران الخارجية شاملة العتبات والتسوية والمستلزمات | INTERIOR CONSTRUCTION | Interior Walls, including lintels, flashing and accessories
6.1.1 | S1.P1.OA.6.1.1 |  | Concrete Masonry Unit, 200 mm thick, insulated | Concrete Masonry Unit, 200 mm thick, insulated | ARCH | م2 | 110 | #VALUE! | 91 | جدران من البلوك الخرساني المعزول سمك 200 ملم | INTERIOR CONSTRUCTION | Interior Walls, including lintels, flashing and accessories |  | 110 |  | 60 | 22.1
6.1.2 | S1.P1.OA.6.1.2 |  | Concrete Masonry Unit, 200 mm thick | Concrete Masonry Unit, 200 mm thick | ARCH | م2 | 2751 | #VALUE! | 59 | جدران من البلوك الخرساني سمك 200 ملم | INTERIOR CONSTRUCTION | Interior Walls, including lintels, flashing and accessories |  | 2751 |  | 30.75 | 22.1
6.1.3 | S1.P1.OA.6.1.3 |  | Concrete Masonry Unit, 150 mm thick | Concrete Masonry Unit, 150 mm thick | ARCH | م2 | 22 | #VALUE! | 58 | جدران من البلوك الخرساني سمك 150 ملم | INTERIOR CONSTRUCTION | Interior Walls, including lintels, flashing and accessories |  | 22 |  | 30.1 | 22.1
6.1.4 | S1.P1.OA.6.1.4 |  | Concrete Masonry Unit, 100 mm thick | Concrete Masonry Unit, 100 mm thick | ARCH | م2 | 329 | #VALUE! | 57 | جدران من البلوك الخرساني سمك 100 ملم | INTERIOR CONSTRUCTION | Interior Walls, including lintels, flashing and accessories |  | 329 |  | 29.45 | 22.1
6.2 | S1.P1.OA.6.2 |  |  | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | [5 empty] | أبواب داخلية شاملاً قطع التركيب والعتبات والدهان أوالتلميع والحشوات | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants
6.2.1 | S1.P1.OA.6.2.1 |  |  | Solid Core Panel Door | [5 empty] | باب من ألواح صلبة | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | Solid Core Panel Door
6.2.1.1 | S1.P1.OA.6.2.1.1 |  | Type C, 1100 mm x 2150 mm | Type C, 1100 mm x 2150 mm | ARCH | عدد | 8 | #VALUE! | 6638 | نوع C , قياس 1100 ملم × 2150 ملم | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | Solid Core Panel Door | 8 | 5105 | 729 | 200
6.2.1.2 | S1.P1.OA.6.2.1.2 |  | Type G, 1400 mm x 2100 mm, with decorative vision panel | Type G, 1400 mm x 2100 mm, with decorative vision panel | ARCH | عدد | 8 | #VALUE! | 4289 | نوع G , قياس 1400 ملم × 2100 ملم مع لوح ديكوري | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | Solid Core Panel Door | 8 | 2970 | 729 | 200
6.2.2 | S1.P1.OA.6.2.2 |  |  | Flush Wood Doors | [5 empty] | باب خشبي مجلد | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | Flush Wood Doors
6.2.2.1 | S1.P1.OA.6.2.2.1 |  | Type D, 800 mm x 2150 mm, with louver | Type D, 800 mm x 2150 mm, with louver | ARCH | عدد | 48 | #VALUE! | 2691 | نوع D , قياس 800 ملم × 2150 ملم مع فتحه | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | Flush Wood Doors | 48 | 1704 | 542 | 200
6.2.2.2 | S1.P1.OA.6.2.2.2 |  | Type E, 1000 mm x 2150 mm | Type E, 1000 mm x 2150 mm | ARCH | عدد | 64 | #VALUE! | 2715 | نوع E , قياس 1000 ملم × 2150 ملم | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | Flush Wood Doors | 64 | 1726 | 542 | 200
6.2.2.3 | S1.P1.OA.6.2.2.3 |  | Type F, 900 mm x 2150 mm | Type F, 900 mm x 2150 mm | ARCH | عدد | 8 | #VALUE! | 2673 | نوع F , قياس 900 ملم × 2150 ملم | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | Flush Wood Doors | 8 | 1688 | 542 | 200
6.2.3 | S1.P1.OA.6.2.3 |  |  | Steel Louvered Door | [5 empty] | باب بفتحة معدنية | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | Steel Louvered Door
6.2.3.1 | S1.P1.OA.6.2.3.1 |  | Type G, 1000 mm x 2150 mm | Type G, 1000 mm x 2150 mm | ARCH | عدد | 1 | #VALUE! | 2543 | نوع G قياس 1000 ملم × 2150 ملم | INTERIOR CONSTRUCTION | Interior Doors, including frames, hardwares, thresholds, painting or staining and sealants | Steel Louvered Door | 1 | 1516 | 595.75 | 200
6.3 | S1.P1.OA.6.3 |  |  | Interior Specialities | [5 empty] | أعمال داخلية خاصة | INTERIOR CONSTRUCTION | Interior Specialities
6.3.1 | S1.P1.OA.6.3.1 |  |  | Toilet Accessories | [5 empty] | مستلزمات الحمامات | INTERIOR CONSTRUCTION | Interior Specialities | Toilet Accessories
6.3.1.1 | S1.P1.OA.6.3.1.1 |  | TA01 Framed Mirror | TA01 Framed Mirror | ARCH | عدد | 48 | #VALUE! | 275 | ( TA01 ) ، مرآة | INTERIOR CONSTRUCTION | Interior Specialities | Toilet Accessories | 48 | 250
6.3.1.2 | S1.P1.OA.6.3.1.2 |  | TA 20 Robe Hook, S/S | TA 20 Robe Hook, S/S | ARCH | عدد | 40 | #VALUE! | 32 | ( TA20 ) ، علاق معاطف ، حديد لا يصدأ | INTERIOR CONSTRUCTION | Interior Specialities | Toilet Accessories | 40 | 29
6.3.1.3 | S1.P1.OA.6.3.1.3 |  | SH Soap Holder, S/S | SH Soap Holder, S/S | ARCH | عدد | 32 | #VALUE! | 132 | ( SH ) ، حامل صابون ، حديد لا يصدأ | INTERIOR CONSTRUCTION | Interior Specialities | Toilet Accessories | 32 | 120
6.3.1.4 | S1.P1.OA.6.3.1.4 |  | ST Shower Tray, S/S | ST Shower Tray, S/S | ARCH | عدد | 32 | #VALUE! | 207 | ( ST ) ، دش حمام ، حديد لا يصدأ | INTERIOR CONSTRUCTION | Interior Specialities | Toilet Accessories | 32 | 187.5
6.3.1.5 | S1.P1.OA.6.3.1.5 |  | TA 26, Shower Curtain & Rod | TA 26, Shower Curtain & Rod | ARCH | عدد | 16 | #VALUE! | 91 | ( TA26 ) ، قضيب ستارة حمام | INTERIOR CONSTRUCTION | Interior Specialities | Toilet Accessories | 16 | 82.5
6.3.1.6 | S1.P1.OA.6.3.1.6 |  | TB Towel Bar, S/S | TB Towel Bar, S/S | ARCH | عدد | 40 | #VALUE! | 132 | ( TB ) ، حامل منشفه ، حديد لا يصدأ | INTERIOR CONSTRUCTION | Interior Specialities | Toilet Accessories | 40 | 120
6.3.1.7 | S1.P1.OA.6.3.1.7 |  | TA30 Toilet Paper Holder, S/S | TA30 Toilet Paper Holder, S/S | ARCH | عدد | 40 | #VALUE! | 75 | ( TA 30 ) ، حامل ورق حمام حديد لا يصدأ | INTERIOR CONSTRUCTION | Interior Specialities | Toilet Accessories | 40 | 68
6.3.2 | S1.P1.OA.6.3.2 |  |  | Lavatory Counter (Inclusive of accessories) | [5 empty] | كاونتر مغسلة (شاملاً المستلزمات) | INTERIOR CONSTRUCTION | Interior Specialities | Lavatory Counter (Inclusive of accessories)
6.3.2.1 | S1.P1.OA.6.3.2.1 |  | Marble Top, size 1200 mm x 600 mm x 30 mm Thick | Marble Top, size 1200 mm x 600 mm x 30 mm Thick | ARCH | عدد | 8 | #VALUE! | 1320 | سطح من الرخام , قياس 1200ملم × 600ملم×30ملم | INTERIOR CONSTRUCTION | Interior Specialities | Lavatory Counter (Inclusive of accessories) | 8 | 1200
6.4 | S1.P1.OA.6.4 |  |  | Interior Signage | [5 empty] | اللافتات الداخلية | INTERIOR CONSTRUCTION | Interior Signage
6.4.1 | S1.P1.OA.6.4.1 |  | TS-B, Unit Numbers | TS-B, Unit Numbers | ARCH | عدد | 8 | #VALUE! | 110 | أرقام الوحدات TS-B | INTERIOR CONSTRUCTION | Interior Signage |  | 8 | 100
6.4.2 | S1.P1.OA.6.4.2 |  | TS-C, Floor Identification | TS-C, Floor Identification | ARCH | عدد | 2 | #VALUE! | 138 | تعريف الأدوار TS-C | INTERIOR CONSTRUCTION | Interior Signage |  | 2 | 125
6.4.3 | S1.P1.OA.6.4.3 |  | TS-E, Exit | TS-E, Exit | ARCH | عدد | 1 | #VALUE! | 138 | مخرج TS-E | INTERIOR CONSTRUCTION | Interior Signage |  | 1 | 125
6.4.4 | S1.P1.OA.6.4.4 |  | PS-A, Stairs | PS-A, Stairs | ARCH | عدد | 2 | #VALUE! | 138 | الدرج PS-A | INTERIOR CONSTRUCTION | Interior Signage |  | 2 | 125
6.4.5 | S1.P1.OA.6.4.5 |  | PS-D, Floor Number Identification | PS-D, Floor Number Identification | ARCH | عدد | 2 | #VALUE! | 138 | تعريف أرقام الأدوار PS-C | INTERIOR CONSTRUCTION | Interior Signage |  | 2 | 125
6.4.6 | S1.P1.OA.6.4.6 |  | PS-C, Fire Hose Cabinet | PS-C, Fire Hose Cabinet | ARCH | عدد | 2 | #VALUE! | 138 | خزانة خرطوم المياه PS-B | INTERIOR CONSTRUCTION | Interior Signage |  | 2 | 125
6.4.7 | S1.P1.OA.6.4.7 |  | TS-D, Electrical Room | TS-D, Electrical Room | ARCH | عدد | 2 | #VALUE! | 138 | غرفة الكهرباء TS-D | INTERIOR CONSTRUCTION | Interior Signage |  | 2 | 125
6.5 | S1.P1.OA.6.5 |  |  | Built-in Casework | [5 empty] | طاولة عمل مدمجه | INTERIOR CONSTRUCTION | Built-in Casework
6.5.1 | S1.P1.OA.6.5.1 |  | BC2.15, Base Cabinet, 2150 mm long | BC2.15, Base Cabinet, 2150 mm long | ARCH | عدد | 8 | #VALUE! | 2011 | ( BC 2.15 ) ، خزانة أرضية بطول 2150 ملم | INTERIOR CONSTRUCTION | Built-in Casework |  | 8 | 1827.5
6.5.2 | S1.P1.OA.6.5.2 |  | BC 2.47, Base Cabinet, 2470 mm long | BC 2.47, Base Cabinet, 2470 mm long | ARCH | عدد | 8 | #VALUE! | 2310 | ( BC 2.47 ) ، خزانة أرضية بطول 2470 ملم | INTERIOR CONSTRUCTION | Built-in Casework |  | 8 | 2099.5
6.5.3 | S1.P1.OA.6.5.3 |  | BC 3.73, Base Cabinet, 3730 mm long | BC 3.73, Base Cabinet, 3730 mm long | ARCH | عدد | 8 | #VALUE! | 3488 | ( BC 3.73 ) ، خزانة أرضية بطول 3730 ملم | INTERIOR CONSTRUCTION | Built-in Casework |  | 8 | 3170.5
6.5.4 | S1.P1.OA.6.5.4 |  | OC 3.57 Overhead Cabinet, 3570 mm long | OC 3.57 Overhead Cabinet, 3570 mm long | ARCH | عدد | 8 | #VALUE! | 2043 | ( OC3.57 ) ، خزانة علوية بطول 3570 ملم | INTERIOR CONSTRUCTION | Built-in Casework |  | 8 | 1856.4
6.5.5 | S1.P1.OA.6.5.5 |  | OC 4.18 Overhead Cabinet, 4180 mm long | OC 4.18 Overhead Cabinet, 4180 mm long | ARCH | عدد | 8 | #VALUE! | 2391 | ( OC 4.18 ) ، خزانة علوية بطول 4180 ملم | INTERIOR CONSTRUCTION | Built-in Casework |  | 8 | 2173.6
6.5.6 | S1.P1.OA.6.5.6 |  | KE13 Range Hood | KE13 Range Hood |  | عدد |  | #VALUE! |  | (KE13) غطاء الموقد | INTERIOR CONSTRUCTION | Built-in Casework |  | 8 | 1000
6.5.7 | S1.P1.OA.6.5.7 |  | CL2 Closet, Built-In,L 2850 mm @ bedroom | CL2 Closet, Built-In,L 2850 mm @ bedroom | ARCH | عدد | 24 | #VALUE! | 4546 | (CL2) دولاب داخل الجدران ، طول 2850ملم ، غرفة النوم | INTERIOR CONSTRUCTION | Built-in Casework |  | 24 | 4132.5
6.5.8 | S1.P1.OA.6.5.8 |  | CL3 Closet, Built-In,L 3800 mm @ bedroom | CL3 Closet, Built-In,L 3800 mm @ bedroom | ARCH | عدد | 8 | #VALUE! | 6061 | (CL3) دولاب داخل الجدران ، طول 3800ملم ، غرفة النوم | INTERIOR CONSTRUCTION | Built-in Casework |  | 8 | 5510
6.5.9 | S1.P1.OA.6.5.9 |  | CL 4 Closet, Built-In, L 1150 mm @ laundry | CL 4 Closet, Built-In, L 1150 mm @ laundry | ARCH | عدد | 4 | #VALUE! | 1835 | (CL4) دولاب داخل الجدران ، طول 1150ملم ، المغسلة | INTERIOR CONSTRUCTION | Built-in Casework |  | 4 | 1667.5
6.5.10 | S1.P1.OA.6.5.10 |  | CL5 Closet, Built-In, L 1775 mm @ laundry | CL5 Closet, Built-In, L 1775 mm @ laundry | ARCH | عدد | 4 | #VALUE! | 2832 | (CL5) دولاب داخل الجدران ، طول 1775ملم ، المغسلة | INTERIOR CONSTRUCTION | Built-in Casework |  | 4 | 2573.75
6.5.11 | S1.P1.OA.6.5.11 |  | CL 6 Closet, Built-In, L 1150 mm @ laundry | CL 6 Closet, Built-In, L 1150 mm @ laundry | ARCH | عدد | 4 | #VALUE! | 1779 | (CL6) دولاب داخل الجدران ، طول 1150ملم ، المغسلة | INTERIOR CONSTRUCTION | Built-in Casework |  | 4 | 1616.75
6.5.12 | S1.P1.OA.6.5.12 |  | CL7 Closet, Built-In, L 1775 mm @ laundry | CL7 Closet, Built-In, L 1775 mm @ laundry | ARCH | عدد | 4 | #VALUE! | 2832 | (CL7) دولاب داخل الجدران ، طول 1775ملم ، المغسلة | INTERIOR CONSTRUCTION | Built-in Casework |  | 4 | 2573.75
7 | S1.P1.OA.7 |  |  | STAIRWAYS | [5 empty] | الدرج | STAIRWAYS
7.1 | S1.P1.OA.7.1 |  |  | Main Stair | [5 empty] | الدرج الرئيسي | STAIRWAYS | Main Stair
7.1.1 | S1.P1.OA.7.1.1 |  |  | Stair Construction | [5 empty] | إنشاءات الدرج | STAIRWAYS | Main Stair | Stair Construction
7.1.1.1 | S1.P1.OA.7.1.1.1 |  | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | Cast-in-Place Concrete, 30 Mpa, Type I, including epoxy coated reinforcement, formworks and accessories. | CIVIL | م3 | 10 | #VALUE! | 1356 | خرسانة صب الموقع 30 م ب ، نوع 1، شاملاً التسليح بطبقة من الإيبوكسي والقوالب وكافة المستلزمات | STAIRWAYS | Main Stair | Stair Construction | 10 |  | 982 | 250
7.1.2 | S1.P1.OA.7.1.2 |  |  | Stair Finishes | [5 empty] | تشطيب الدرج | STAIRWAYS | Stair Finishes
7.1.2.1 | S1.P1.OA.7.1.2.1 |  |  | Wall Finishes | [5 empty] | تشطيبات الجدران | STAIRWAYS | Stair Finishes | Wall Finishes
7.1.2.1.1 | S1.P1.OA.7.1.2.1.1 |  | Portland Cement Plaster on concrete and masonry surfaces | Portland Cement Plaster on concrete and masonry surfaces | ARCH | م2 | 200 | #VALUE! | 35 | لياسة أسمنت بورتلاندي على الخرسانة والأسطح البنائية | STAIRWAYS | Stair Finishes | Wall Finishes | 200 |  | 11 | 20
7.1.2.1.2 | S1.P1.OA.7.1.2.1.2 |  | Painting on cement plaster surfaces, latex aggregate paint | Painting on cement plaster surfaces, latex aggregate paint | ARCH | م2 | 200 | #VALUE! | 25 | دهان على أوجه اللياسة الأسمنتية ، تشطيب لاتكس خشن | STAIRWAYS | Stair Finishes | Wall Finishes | 200 |  | 12 | 10
7.1.2.2 | S1.P1.OA.7.1.2.2 |  |  | Floor Finishes | [5 empty] | تشطيب الأرضيات | STAIRWAYS | Stair Finishes | Floor Finishes
7.1.2.2.1 | S1.P1.OA.7.1.2.2.1 |  | Granite Tile | Granite Tile | ARCH | م2 | 17 | #VALUE! | 193 | بلاط من الجرانيت | STAIRWAYS | Stair Finishes | Floor Finishes | 17 | 120 | 15 | 40
7.1.2.2.2 | S1.P1.OA.7.1.2.2.2 |  | Granite Stair Landing, 30 mm thick | Granite Stair Landing, 30 mm thick | ARCH | م2 | 17 | #VALUE! | 215 | استراحة الدرج من الجرانيت بسمك 30ملم | STAIRWAYS | Stair Finishes | Floor Finishes | 14 | 140 | 15 | 40
7.1.2.2.3 | S1.P1.OA.7.1.2.2.3 |  | Granite Tread, with 25 mm thick wide rough surfaced anti-slip strip 340 mm x 1450 mm x 30 mm thick | Granite Tread, with 25 mm thick wide rough surfaced anti-slip strip 340 mm x 1450 mm x 30 mm thick | ARCH | عدد | 42 | #VALUE! | 156 | نائمة درج من الجرانيت مع شريط مانع للإنزلاق عرض 25ملم ،340ملم×1450ملم ×30ملم | STAIRWAYS | Stair Finishes | Floor Finishes | 42 | 116 | 10 | 15
7.1.2.2.4 | S1.P1.OA.7.1.2.2.4 |  | Granite Riser, 105 mm x 1450 mm x 20 mm thick | Granite Riser, 105 mm x 1450 mm x 20 mm thick | ARCH | عدد | 42 | #VALUE! | 45 | قائمة درج من الجرانيت 105ملم×1450ملم×20ملم | STAIRWAYS | Stair Finishes | Floor Finishes | 42 | 18.27 | 10 | 12
7.1.2.2.5 | S1.P1.OA.7.1.2.2.5 |  | Granite Base, 100 mm high | Granite Base, 100 mm high | ARCH | م ط | 62 | #VALUE! | 43 | وزرة من الجرانيت بإرتفاع 100 ملم | STAIRWAYS | Stair Finishes | Floor Finishes | 61 | 17 | 10 | 12
7.1.2.3 | S1.P1.OA.7.1.2.3 |  |  | Ceiling Finishes | [5 empty] | تشطيبات السقف | STAIRWAYS | Stair Finishes | Ceiling Finishes
7.1.2.3.1 | S1.P1.OA.7.1.2.3.1 |  | Painting on fairface concrete surfaces, latex paint | Painting on fairface concrete surfaces, latex paint | ARCH | م2 | 55 | #VALUE! | 17 | دهان على أوجه اللياسة الخراسانية ، تشطيب لاتكس | STAIRWAYS | Stair Finishes | Ceiling Finishes | 55 |  | 5 | 10
7.1.3 | S1.P1.OA.7.1.3 |  |  | Metal Fabrications | [5 empty] | مشغولات معدنية | STAIRWAYS | Stair Finishes | Metal Fabrications
7.1.3.1 | S1.P1.OA.7.1.3.1 |  | Stainless Steel Pipe Handrailing 50 mm dia. painted 900 mm high complete with all fixing & support | Stainless Steel Pipe Handrailing 50 mm dia. painted 900 mm high complete with all fixing & support | ARCH | م ط | 24 | #VALUE! | 1183 | درابزين أنابيب معدنية مطلي بقطر 50 ملم ، إرتفاع 900 ملم , كامل مع التثبيت والدعامات | STAIRWAYS | Stair Finishes | Metal Fabrications | 51 | 1075
7.1.3.2 | S1.P1.OA.7.1.3.2 |  | Stainless Steel Pipe Wall Handrailing 50 mm dia. painted complete with all fixing accessories | Stainless Steel Pipe Wall Handrailing 50 mm dia. painted complete with all fixing accessories | ARCH | م ط | 31 | #VALUE! | 385 | درابزين جدران من أنابيب معدنية مطلي بقطر 50 ملم ، مع التثبيت والدعامات | STAIRWAYS | Stair Finishes | Metal Fabrications | 32 | 350
8 | S1.P1.OA.8 |  |  | INTERIOR FINISHES | [5 empty] | التشطيبات الداخلية | INTERIOR FINISHES
8.1 | S1.P1.OA.8.1 |  |  | Wall Finishes | [5 empty] | تشطيبات الجدران | INTERIOR FINISHES | Wall Finishes
8.1.1 | S1.P1.OA.8.1.1 |  | Portland Cement Plaster on concrete and masonry surfaces | Portland Cement Plaster on concrete and masonry surfaces | ARCH | م2 | 6596 | #VALUE! | 35 | لياسة أسمنت بورتلاندي على الخرسانة والأسطح البنائية | INTERIOR FINISHES | Wall Finishes |  | 4423 |  | 11 | 20
8.1.2 | S1.P1.OA.8.1.2 |  | Painting on cement plaster surfaces, latex aggregate paint | Painting on cement plaster surfaces, latex aggregate paint | ARCH | م2 | 6596 | #VALUE! | 25 | دهان على أوجه اللياسة الأسمنتية ، تشطيب لاتكس خشن | INTERIOR FINISHES | Wall Finishes |  | 4423 |  | 12 | 10
8.1.3 | S1.P1.OA. 8.1.3 |  | =B373 | Ceramic Tile, Glazed, including mortar bed | ARCH | م2 | 972 | #VALUE! | 61 | بلاط سيراميك مصقول ، شاملاً طبقة مونة | INTERIOR FINISHES | Wall Finishes |  | 824 | 17 | 13 | 25
8.1.4 | S1.P1.OA.8.1.4 |  | Granite Tile | Granite Tile | ARCH | م2 | 219 | #VALUE! | 193 | بلاط من الجرانيت | INTERIOR FINISHES | Wall Finishes |  | 146 | 120 | 15 | 40
8.2 | S1.P1.OA.8.2 |  |  | Floor Finishes | [5 empty] | تشطيب الأرضيات | INTERIOR FINISHES | Floor Finishes
8.2.1 | S1.P1.OA.8.2.1 |  | Floor Hardener on exposed concrete, epoxy painted | Floor Hardener on exposed concrete, epoxy painted | ARCH | م2 | 7 | #VALUE! | 37 | طبقة تقسية على خرسانة مكشوفة مطلية بالإيبوكسي | INTERIOR FINISHES | Floor Finishes |  | 7 |  | 18 | 15
8.2.2 | S1.P1.OA.8.2.2 |  | Terrazzo Tile | Terrazzo Tile | ARCH | م2 | 851 | #VALUE! | 50 | بلاط تيرازو | INTERIOR FINISHES | Floor Finishes |  | 693 | 15 | 10 | 20
8.2.3 | S1.P1.OA.8.2.3 |  | Ceramic Tile, Unglazed | Ceramic Tile, Unglazed | ARCH | م2 | 242 | #VALUE! | 63 | بلاط سيراميك غير مصقول | INTERIOR FINISHES | Floor Finishes |  | 372 | 17 | 15 | 25
8.2.4 | S1.P1.OA.8.2.4 |  | Porcelain Tile | Porcelain Tile | ARCH | م2 | 1035 | #VALUE! | 88 | بلاط بورسلين | INTERIOR FINISHES | Floor Finishes |  | 736 | 35 | 15 | 30
8.2.5 | S1.P1.OA.8.2.5 |  | Carpet on screed | Carpet on screed | ARCH | م2 | 767 | #VALUE! | 245 | موكيت على طبقة التسوية | INTERIOR FINISHES | Floor Finishes |  | 258 | 180 | 12.25 | 30
8.2.6 | S1.P1.OA.8.2.6 |  | Granite Tile | Granite Tile | ARCH | م2 | 142 | #VALUE! | 193 | بلاط من الجرانيت | INTERIOR FINISHES | Floor Finishes |  | 152 | 120 | 15 | 40
8.2.7 | S1.P1.OA.8.2.7 |  | Ceramic Tile, unglazed, including built-up bituminous waterproofing | Ceramic Tile, unglazed, including built-up bituminous waterproofing | ARCH | م2 | 242 | #VALUE! | 117 | بلاط سيراميك غير مصقول ، نظام عزل بتيوميني ضد الرطوبة | INTERIOR FINISHES | Floor Finishes |  | 372 | 66 | 15 | 25
8.2.8 | S1.P1.OA.8.2.8 |  | Granite Tiles, including built-up bituminous waterproofing | Granite Tiles, including built-up bituminous waterproofing | ARCH | م2 | 26 | #VALUE! | 226 | رخام جرانيت مع نظام عزل بيتوميني ضد الرطوبة | INTERIOR FINISHES | Floor Finishes |  | 0 | 150 | 15 | 40
8.2.9 | S1.P1.OA.8.2.9 |  | Porcelain Base, 100 mm high | Porcelain Base, 100 mm high | ARCH | م ط | 736 | #VALUE! | 25 | وزرة بورسلين بإرتفاع 100 ملم | INTERIOR FINISHES | Floor Finishes |  | 421 | 7 | 5 | 10
8.2.10 | S1.P1.OA.8.2.10 |  | Granite Base, 100 mm high | Granite Base, 100 mm high | ARCH | م ط | 50 | #VALUE! | 43 | وزرة من الجرانيت بإرتفاع 100 ملم | INTERIOR FINISHES | Floor Finishes |  | 179 | 17 | 10 | 12
8.2.11 | S1.P1.OA.8.2.11 |  | Wood Base, 100 mm high | Wood Base, 100 mm high | ARCH | م ط | 761 | #VALUE! | 42 | وزرة خشب بإرتفاع 100 ملم | INTERIOR FINISHES | Floor Finishes |  | 520 | 22.5 | 5 | 10
8.3 | S1.P1.OA.8.3 |  |  | Ceiling Finishes | [5 empty] | تشطيبات السقف | INTERIOR FINISHES | Ceiling Finishes
8.3.1 | S1.P1.OA.8.3.1 |  | Aluminum Pan Exposed Tee, 600 mm x 600 mm | Aluminum Pan Exposed Tee, 600 mm x 600 mm | ARCH | م2 | 147 | #VALUE! | 94 | ألواح ألمونيوم حامل مكشوف 600ملم×600ملم | INTERIOR FINISHES | Ceiling Finishes |  | 118 | 54.6 |  | 30
8.3.2 | S1.P1.OA.8.3.2 |  | Gypsum Cornices w/ paint finish | Gypsum Cornices w/ paint finish | ARCH | م ط | 1717 | #VALUE! | 14 | زينة من الجبس ( كورنيش) | INTERIOR FINISHES | Ceiling Finishes |  | 1271 | 3 | 4 | 5
8.3.3 | S1.P1.OA.8.3.3 |  | Gypsumboard Tile, moisture resistant | Gypsumboard Tile, moisture resistant | ARCH | م2 | 264 | #VALUE! | 51 | بلاط جبسي مقاوم للرطوبة | INTERIOR FINISHES | Ceiling Finishes |  | 169 | 15.75 |  | 30
8.3.4 | S1.P1.OA.8.3.4 |  | Painting on fairface concrete surfaces, latex paint | Painting on fairface concrete surfaces, latex paint | ARCH | م2 | 2132 | #VALUE! | 17 | دهان على أوجه اللياسة الخراسانية ، تشطيب لاتكس | INTERIOR FINISHES | Ceiling Finishes |  | 1640 |  | 5 | 10
| S1.P1.OA.New |  |  | Decorative / Ornamental Steel Works | [6 empty] | EXTERIOR CLOSURE | Exterior Finishes
9 | S1.P1.OA.9 |  |  | CONVEYING SYSTEMS |  | غير مطلوب |  |  |  | أنظمة النقل | CONVEYING SYSTEMS
10 | S1.P1.OA.10 |  |  | PLUMBING SYSTEMS | [5 empty] | أنظمة السباكة | PLUMBING SYSTEMS
10.1 | S1.P1.OA.10.1 |  |  | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances | [5 empty] | تركيبات السباكة ، كاملة مع كافة التركيبات محابس زاوية والمستلزمات الأخرى | PLUMBING SYSTEMS | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances
10.1.1 | S1.P1.OA.10.1.1 |  | Water Closet, western type, floor mounted with flush tank (P-1), including hand spray assembly | Water Closet, western type, floor mounted with flush tank (P-1), including hand spray assembly |  | عدد | 40 | #VALUE! | 1230 | ( P - 1 ) دورة مياه ، نوع غربي ، تركيب أرضي مع صندوق طرد مع مجموعة شطاف | PLUMBING SYSTEMS | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances |  |  | 1200
10.1.2 | S1.P1.OA.10.1.2 |  | Lavatory, wall hung (P-4) | Lavatory, wall hung (P-4) |  | عدد | 40 | #VALUE! | 820 | مغسلة مركبة بالجدار( P - 4 ) | PLUMBING SYSTEMS | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances |  |  | 800
10.1.3 | S1.P1.OA.10.1.3 |  | Lavatory, countertop (P-4A) | Lavatory, countertop (P-4A) |  | عدد | 16 | #VALUE! | 769 | مغسلة بكاونتر ( P - 4A ) | PLUMBING SYSTEMS | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances |  |  | 750
10.1.4 | S1.P1.OA.10.1.4 |  | Bathtub (P-7) | Bathtub (P-7) |  | عدد | 8 | #VALUE! | 1128 | مغطس حمام (P-7) | PLUMBING SYSTEMS | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances |  |  | 1100
10.1.5 | S1.P1.OA.10.1.5 |  | Shower (P-8), with shower tray | Shower (P-8), with shower tray |  | عدد | 16 | #VALUE! | 1230 | دش ( P-8 ) | PLUMBING SYSTEMS | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances |  |  | 1200
10.1.6 | S1.P1.OA.10.1.6 |  | Shower, without shower tray (P-8A) | Shower, without shower tray (P-8A) |  | عدد | 8 | #VALUE! | 667 | دش بدون حوض ( P-8A ) | PLUMBING SYSTEMS | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances |  |  | 650
10.1.7 | S1.P1.OA.10.1.7 |  | Kitchen Sink, double compartment (P-10A) | Kitchen Sink, double compartment (P-10A) |  | عدد | 8 | #VALUE! | 1230 | مجلى المطبخ، حوضين ( P - 10A ) | PLUMBING SYSTEMS | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances |  |  | 1200
10.1.8 | S1.P1.OA.10.1.8 |  | Mixing Valve and Faucet | Mixing Valve and Faucet |  | عدد | 8 | #VALUE! | 564 | خلاط وصنبور مياه | PLUMBING SYSTEMS | Plumbing Fixtures, complete with fittings, angle valves and all appurtenances |  |  | 550
10.2 | S1.P1.OA.10.2 |  |  | Water Supply Piping System | [5 empty] | شبكة أنابيب تزويد المياه | PLUMBING SYSTEMS | Water Supply Piping System
10.2.1 | S1.P1.OA.10.2.1 |  |  | Cold Water Pipes (Roof Deck), complete with all connections, fittings, hangers and supports, isolation valves, insulation, aluminum cladding, disinfections and testing | [5 empty] | أنابيب المياه الباردة ( بالسطح ) ، كاملة مع التوصيلات والتركيبات والعلاقات والدعامات و محابس عزل والعزل و انابيب من الحديد والتكسية من الألمونيم التعقيم والإختبارات | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (Roof Deck), complete with all connections, fittings, hangers and supports, isolation valves, insulation, aluminum cladding, disinfections and testing
10.2.1.1 | S1.P1.OA.10.2.1.1 |  | 63 mm diameter, upvc | 70 mm diameter, upvc |  | م ط | 0 | #VALUE! | 0 | قطر 63 ملم ، يو بي في سي | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (Roof Deck), complete with all connections, fittings, hangers and supports, isolation valves, insulation, aluminum cladding, disinfections and testing |  | 0
10.2.1.2 | S1.P1.OA.10.2.1.2 |  | 50 mm diameter, upvc | 63 mm diameter, upvc |  | م ط | 110 | #VALUE! | 211 | قطر 50 ملم ، يو بي في سي | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (Roof Deck), complete with all connections, fittings, hangers and supports, isolation valves, insulation, aluminum cladding, disinfections and testing |  | 205
10.2.1.3 | S1.P1.OA.10.2.1.3 |  | 40 mm diameter, upvc | 50 mm diameter, upvc |  | م ط | 20 | #VALUE! | 190 | قطر 40 ملم ، يو بي في سي | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (Roof Deck), complete with all connections, fittings, hangers and supports, isolation valves, insulation, aluminum cladding, disinfections and testing |  | 185
| S1.P1.OA.10.2.1.4 |  |  | 40 mm diameter, upvc |  | م ط | 60 | #VALUE! | 139 | [5 empty] | 135
10.2.2 | S1.P1.OA.10.2.2 |  |  | Cold Water Pipes (UPVC), complete with all connections, fittings, hangers and supports, isolation valves, disinfections and testing | [5 empty] | أنابيب المياه الباردة ( يو بي في سي ) ، كاملة مع التوصيلات والتركيبات والعلاقات والدعامات محابس عزل التعقيم والإختبارات | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (UPVC), complete with all connections, fittings, hangers and supports, isolation valves, disinfections and testing
10.2.2.1 | S1.P1.OA.10.2.2.2 |  | 63 mm diameter | 63 mm diameter |  | م ط | 7 | #VALUE! | 67 | قطر 63 ملم | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (UPVC), complete with all connections, fittings, hangers and supports, isolation valves, disinfections and testing |  | 65
10.2.2.2 | S1.P1.OA.10.2.2.3 |  | 40 mm diameter | 40 mm diameter |  | م ط | 343 | #VALUE! | 57 | قطر 40 ملم | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (UPVC), complete with all connections, fittings, hangers and supports, isolation valves, disinfections and testing |  | 55
10.2.2.3 | S1.P1.OA.10.2.2.4 |  | 32 mm diameter | 32 mm diameter |  | م ط | 264 | #VALUE! | 47 | قطر 32 ملم | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (UPVC), complete with all connections, fittings, hangers and supports, isolation valves, disinfections and testing |  | 45
10.2.2.4 | S1.P1.OA.10.2.2.5 |  | 25 mm diameter | 25 mm diameter |  | م ط | 70 | #VALUE! | 36 | قطر 25 ملم | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (UPVC), complete with all connections, fittings, hangers and supports, isolation valves, disinfections and testing |  | 35
10.2.2.5 | S1.P1.OA.10.2.2.6 |  | 20 mm diameter | 20 mm diameter |  | م ط | 264 | #VALUE! | 26 | قطر 20 ملم | PLUMBING SYSTEMS | Water Supply Piping System | Cold Water Pipes (UPVC), complete with all connections, fittings, hangers and supports, isolation valves, disinfections and testing |  | 25
10.2.3 | S1.P1.OA.10.2.3 |  |  | Hot Water Pipes (CPVC), complete with all connections, fittings, insulation, hangers and supports, isolation valves, disinfections and testing | [5 empty] | أنابيب المياه الحارة ( سي بي في سي ) ، كاملة مع التوصيلات والتركيبات والعزل والعلاقات والدعامات محابس عزل التعقيم والإختبارات | PLUMBING SYSTEMS | Water Supply Piping System | Hot Water Pipes (CPVC), complete with all connections, fittings, insulation, hangers and supports, isolation valves, disinfections and testing
10.2.3.1 | S1.P1.OA.10.2.3.1 |  | 32 mm diameter | 32 mm diameter |  | م ط | 290 | #VALUE! | 57 | قطر 32 ملم | PLUMBING SYSTEMS | Water Supply Piping System | Hot Water Pipes (CPVC), complete with all connections, fittings, insulation, hangers and supports, isolation valves, disinfections and testing |  | 55
10.2.3.2 | S1.P1.OA.10.2.3.2 |  | 20 mm diameter | 20 mm diameter |  | م ط | 220 | #VALUE! | 47 | قطر 20 ملم | PLUMBING SYSTEMS | Water Supply Piping System | Hot Water Pipes (CPVC), complete with all connections, fittings, insulation, hangers and supports, isolation valves, disinfections and testing |  | 45
10.2.4 | S1.P1.OA.10.2.4 |  |  | Presssure Reducing Valves with Gate/Check Valves including Valve Box | [5 empty] | صمام بوابي لتقليل الضغط/وصمام غير مرجع داخل صندوق صمامات | PLUMBING SYSTEMS | Water Supply Piping System | Presssure Reducing Valves with Gate/Check Valves including Valve Box
10.2.4.1 | S1.P1.OA.10.2.4.1 |  | 63 mm diameter | 75 mm diameter |  | عدد | 2 | #VALUE! | 7688 | قطر 63 ملم | PLUMBING SYSTEMS | Water Supply Piping System | Presssure Reducing Valves with Gate/Check Valves including Valve Box |  | 7500
10.2.5 | S1.P1.OA.10.2.5 |  |  | Water Hammer Arresters | [5 empty] | موانع الصدمة المائية | PLUMBING SYSTEMS | Water Supply Piping System | Water Hammer Arresters
10.2.5.1 | S1.P1.OA.10.2.5.1 |  | PDI - A | PDI - A |  | عدد | 68 | #VALUE! | 205 | حسب المواصفات - PDI-A | PLUMBING SYSTEMS | Water Supply Piping System | Water Hammer Arresters |  | 200
10.2.6 | S1.P1.OA.10.2.6 |  |  | Electric Water Heaters, complete with angle valves, pressure relief valves, concrete pad and all appurtenances | [5 empty] | سخان ماء كهربائي ، كاملة مع كافة محابس زاوية ومحابس تنفيس القاعدة الخرسانية المستلزمات الأخرى | PLUMBING SYSTEMS | Water Supply Piping System | Electric Water Heaters, complete with angle valves, pressure relief valves, concrete pad and all appurtenances
10.2.6.1 | S1.P1.OA.10.2.6.1 |  | EWH - (1), 30 liters capacity, horizontal wall mounted | EWH - (1), 30 liters capacity, horizontal wall mounted |  | عدد | 8 | #VALUE! | 462 | سخان (1) ، سعة 30 لتر ، يركب أفقياً بالجدار | PLUMBING SYSTEMS | Water Supply Piping System | Electric Water Heaters, complete with angle valves, pressure relief valves, concrete pad and all appurtenances |  | 450
10.2.6.2 | S1.P1.OA.10.2.6.2 |  | EWH - (2), 50 liters capacity, horizontal wall mounted | EWH - (2), 50 liters capacity, horizontal wall mounted |  | عدد | 24 | #VALUE! | 513 | سخان (2) ، سعة 50 لتر ، يركب أفقياً بالجدار | PLUMBING SYSTEMS | Water Supply Piping System | Electric Water Heaters, complete with angle valves, pressure relief valves, concrete pad and all appurtenances |  | 500
10.2.6.3 | S1.P1.OA.10.2.6.3 |  | EWH - (3), 80 liters capacity, horizontal wall mounted | EWH - (3), 80 liters capacity, horizontal wall mounted |  | عدد | 8 | #VALUE! | 615 | سخان (3) ، سعة 80 لتر ، يركب أفقياً بالجدار | PLUMBING SYSTEMS | Water Supply Piping System | Electric Water Heaters, complete with angle valves, pressure relief valves, concrete pad and all appurtenances |  | 600
10.2.6.4 | S1.P1.OA.10.2.6.4 |  | EWH - (4), 80 liters capacity, vertical floor mounted | EWH - (4), 80 liters capacity, vertical floor mounted |  | عدد | 8 | #VALUE! | 667 | سخان (4) ، سعة 80 لتر ، يركب عمودياً بالأرضية | PLUMBING SYSTEMS | Water Supply Piping System | Electric Water Heaters, complete with angle valves, pressure relief valves, concrete pad and all appurtenances |  | 650
10.2.7 | S1.P1.OA.10.2.7 |  |  | Overhead Water Tank (@ Roof Top), heat insulated, complete with all connections, gate/check valves, solenoid valves, float valves, concrete pad, all civil works related thereto and all other appurtenances as shown on Dwg 5-01-P-04 | [5 empty] | خزان علوي لمياه الشرب ، أعلى السطح معزول , معزول من الحرارة كامل مع التوصيلات والقاعدة الخرسانية صمامات بوابية وحلزونية وعوامة وكافة الأعمال المدنية،الإنشائية والمستلزمات الأخرى حسب المخططط | PLUMBING SYSTEMS | Water Supply Piping System | Overhead Water Tank (@ Roof Top), heat insulated, complete with all connections, gate/check valves, solenoid valves, float valves, concrete pad, all civil works related thereto and all other appurtenances as shown on Dwg 5-01-P-04
10.2.7.1 | S1.P1.OA.10.2.7.1 |  | OHWT, 6000 liters capacity | OHWT, 6000 liters capacity |  | عدد | 2 | #VALUE! | 7688 | خزان علوي لمياه الشرب ، سعة 6000 لتر | PLUMBING SYSTEMS | Water Supply Piping System | Overhead Water Tank (@ Roof Top), heat insulated, complete with all connections, gate/check valves, solenoid valves, float valves, concrete pad, all civil works related thereto and all other appurtenances as shown on Dwg 5-01-P-05 |  | 7500
10.3 | S1.P1.OA.10.3 |  |  | Sanitary Drainage System | [5 empty] | شبكة الصرف الصحي | PLUMBING SYSTEMS | Sanitary Drainage System
10.3.1 | S1.P1.OA.10.3.1 |  |  | Below/Above ground drainage and vent pipes (UPVC), complete with connections, fittings and supports, including trenches for buried pipes and testing | [5 empty] | أنابيب تصريف المياه والتهوية فوق وتحت سطح الأرض (يو بي في سي) ، كاملة مع التمديدات والدعامات والخنادق للتميدات المدفونة والإختبارات | PLUMBING SYSTEMS | Sanitary Drainage System | Below/Above ground drainage and vent pipes (UPVC), complete with connections, fittings and supports, including trenches for buried pipes and testing
10.3.1.1 | S1.P1.OA.10.3.1.1 |  | 110 mm diameter | 110 mm diameter |  | م ط | 484 | #VALUE! | 76 | قطر 110 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | Below/Above ground drainage and vent pipes (UPVC), complete with connections, fittings and supports, including trenches for buried pipes and testing |  | 74
10.3.1.2 | S1.P1.OA.10.3.1.2 |  | 90 mm diameter | 90 mm diameter |  | م ط | 88 | #VALUE! | 76 | قطر 90 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | Below/Above ground drainage and vent pipes (UPVC), complete with connections, fittings and supports, including trenches for buried pipes and testing |  | 74
10.3.1.3 | S1.P1.OA.10.3.1.3 |  | 63 mm diameter | 63 mm diameter |  | م ط | 898 | #VALUE! | 46 | قطر 63 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | Below/Above ground drainage and vent pipes (UPVC), complete with connections, fittings and supports, including trenches for buried pipes and testing |  | 44
10.3.1.4 | S1.P1.OA.10.3.1.4 |  | 50 mm diameter | 50 mm diameter |  | م ط | 466 | #VALUE! | 46 | قطر 50 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | Below/Above ground drainage and vent pipes (UPVC), complete with connections, fittings and supports, including trenches for buried pipes and testing |  | 44
10.3.2 | S1.P1.OA.10.3.2 |  |  | Floor Drains, Cast Iron | [5 empty] | نظام التصريف الأرضي ، حديد زهر | PLUMBING SYSTEMS | Sanitary Drainage System | Floor Drains, Cast Iron
10.3.2.1 | S1.P1.OA.10.3.2.1 |  | 90 mm diameter | 90 mm diameter |  | عدد | 4 | #VALUE! | 359 | قطر 90 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | Floor Drains, Cast Iron |  | 350
10.3.2.2 | S1.P1.OA.10.3.2.2 |  | 63 mm diameter | 63 mm diameter |  | عدد | 80 | #VALUE! | 359 | قطر 63 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | Floor Drains, Cast Iron |  | 350
10.3.3 | S1.P1.OA.10.3.3 |  |  | P Traps, PVC | [5 empty] | محبس بشكل (P) ، (بي في سي) | PLUMBING SYSTEMS | Sanitary Drainage System | P Traps, PVC
10.3.3.1 | S1.P1.OA.10.3.3.1 |  | 90 mm diameter | 90 mm diameter |  | عدد | 4 | #VALUE! | 113 | قطر 90 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | P Traps, PVC |  | 110
10.3.3.2 | S1.P1.OA.10.3.3.2 |  | 63 mm diameter | 63 mm diameter |  | عدد | 104 | #VALUE! | 93 | قطر 63 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | P Traps, PVC |  | 90
10.3.4 | S1.P1.OA.10.3.4 |  |  | Floor Cleanouts, Cast Iron | [5 empty] | فتحة تنظيف أرضية ، حديد زهر | PLUMBING SYSTEMS | Sanitary Drainage System | Floor Cleanouts, Cast Iron
10.3.4.1 | S1.P1.OA.10.3.4.1 |  | 110 mm diameter | 110 mm diameter |  | عدد | 64 | #VALUE! | 359 | قطر 110 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | Floor Cleanouts, Cast Iron |  | 350
10.3.4.2 | S1.P1.OA.10.3.4.2 |  | 90 mm diameter | 90 mm diameter |  | عدد | 8 | #VALUE! | 359 | قطر 90 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | Floor Cleanouts, Cast Iron |  | 350
10.3.5 | S1.P1.OA.10.3.5 |  |  | Wall Cleanouts, Cast Iron | [5 empty] | فتحة تنظيف داخل الجدار، حديد زهر | PLUMBING SYSTEMS | Sanitary Drainage System | Wall Cleanouts, Cast Iron
10.3.5.1 | S1.P1.OA.10.3.5.1 |  | 110 mm diameter | 110 mm diameter |  | عدد | 4 | #VALUE! | 359 | قطر 110 ملم | PLUMBING SYSTEMS | Sanitary Drainage System | Wall Cleanouts, Cast Iron |  | 350
10.4 | S1.P1.OA.10.4 |  |  | LPG System | [5 empty] | شبكة غاز البيوتين المسال | PLUMBING SYSTEMS | LPG System
10.4.1 | S1.P1.OA.10.4.1 |  |  | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, steel pipe sleeves, and all accessories, and testing | [5 empty] | أنابيب شبكة غاز االبتروليوم المسال (فولاذ كربوني) ، كاملة مع التوصيلات والعزل والعلاقات والدعامات والوصلات المعدنية والمستلزمات والإختبارات | PLUMBING SYSTEMS | LPG System | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, steel pipe sleeves, and all accessories, and testing
10.4.1.1 | S1.P1.OA.10.4.1.1 |  | 15 mm diameter | 15 mm diameter |  | م ط | 36 | #VALUE! | 88 | قطر 15 ملم | PLUMBING SYSTEMS | LPG System | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, steel pipe sleeves, and all accessories, and testing |  | 85
10.4.2 | S1.P1.OA.10.4.2 |  | LPG Flexible Supply Hoses with Ball Valve, 15 mm diameter | LPG Flexible Supply Hoses with Ball Valve, 15 mm diameter |  | عدد | 8 | #VALUE! | 257 | خراطيم تتمدد لتزويد غاز البيوتين المسال مع صمام كروي قطر 15 ملم | PLUMBING SYSTEMS | LPG System | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, steel pipe sleeves, and all accessories, and testing |  | 250
10.4.3 | S1.P1.OA.10.4.3 |  | LPG Meters, 15 mm diameter | LPG Meters, 15 mm diameter |  | عدد | 8 | #VALUE! | 1538 | عداد غاز البتروليوم المسال قطر 15 ملم | PLUMBING SYSTEMS | LPG System | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, steel pipe sleeves, and all accessories, and testing |  | 1500
10.5 | S1.P1.OA.10.5 |  |  | For External Use | [5 empty] | للإستخدام الخارجي | PLUMBING SYSTEMS | For External Use
10.5.1 | S1.P1.OA.10.5.1 |  |  | Water Pipes, including trench excavation and backfilling | [5 empty] | أنابيب المياه ، شاملاً حفر وردم خنادق تمديد | PLUMBING SYSTEMS | For External Use | Water Pipes, including trench excavation and backfilling
10.5.1.1 | S1.P1.OA.10.5.1.1 |  | 75 mm diameter, upvc | 75 mm diameter, upvc |  | م ط | 14 | #VALUE! | 77 | قطر 75 ملم ، يو بي في سي | PLUMBING SYSTEMS | For External Use | Water Pipes, including trench excavation and backfilling |  | 75
10.5.1.2 | S1.P1.OA.10.5.1.2 |  | 63 mm diameter, upvc | 63 mm diameter, upvc |  | م ط | 0 | #VALUE! |  | قطر 63 ملم ، يو بي في سي | PLUMBING SYSTEMS | For External Use | Water Pipes, including trench excavation and backfilling |  | 65
10.5.1.3 | S1.P1.OA.10.5.1.3 |  | Fire Pipe (upvc), 110 mm diameter | Fire Pipe (upvc), 110 mm diameter |  | م ط | 6 | #VALUE! | 93 | أنابيب مياه الإطفاء ( يو بي في سي) ، قطر 110 ملم | PLUMBING SYSTEMS | For External Use | Water Pipes, including trench excavation and backfilling |  | 90
10.5.2 | S1.P1.OA.10.5.2 |  |  | Miscellaneous Valves/Accessories | [5 empty] | محابس متنوعة ومستلزمات | PLUMBING SYSTEMS | For External Use | Miscellaneous Valves/Accessories
10.5.2.1 | S1.P1.OA.10.5.2.1 |  | Gate Valve including Valve Box, 63 mm diameter | Gate Valve including Valve Box, 63 mm diameter |  | عدد | 2 | #VALUE! | 2358 | صمام بوابي داخل صندوق صمامات ، قطر 63 ملم | PLUMBING SYSTEMS | For External Use | Miscellaneous Valves/Accessories |  | 2300
10.5.2.2 | S1.P1.OA.10.5.2.2 |  | (PIV) Post Indicator Valve, 100 mm diameter | (PIV) Post Indicator Valve, 100 mm diameter |  | عدد | 1 | #VALUE! | 2153 | ( PIV ) صمام مؤشر لاحق ، قطر 100 ملم | PLUMBING SYSTEMS | For External Use | Miscellaneous Valves/Accessories |  | 2100
10.5.3 | S1.P1.OA.10.5.3 |  |  | Sewer Pipes (UPVC), including trench excavation and backfilling | [5 empty] | أنابيب الصرف الصحي ( يو بي في سي ) ، شاملاً حفر وردم خنادق تمديد | PLUMBING SYSTEMS | For External Use | Sewer Pipes (UPVC), including trench excavation and backfilling
10.5.3.1 | S1.P1.OA.10.5.3.1 |  | 160 mm diameter | 160 mm diameter |  | م ط | 200 | #VALUE! | 88 | قطر 160 ملم | PLUMBING SYSTEMS | For External Use | Sewer Pipes (UPVC), including trench excavation and backfilling |  | 85
10.5.3.2 | S1.P1.OA.10.5.3.2 |  | 110 mm diameter | 110 mm diameter |  | م ط | 44 | #VALUE! | 77 | قطر 110 ملم | PLUMBING SYSTEMS | For External Use | Sewer Pipes (UPVC), including trench excavation and backfilling |  | 75
10.5.4 | S1.P1.OA.10.5.4 |  |  | Sewer Manholes & Covers | [5 empty] | فتحات تفتيش الصرف الصحي وأغطيتها | PLUMBING SYSTEMS | For External Use | Sewer Manholes & Covers
10.5.4.1 | S1.P1.OA.10.5.4.1 |  | Sewer Manhole, Type A, cast-in-place concrete, including cast iron cover and frame, and all civil works related thereto (Dwg 0-00-XP-01) | Sewer Manhole, Type A, cast-in-place concrete, including cast iron cover and frame, and all civil works related thereto (Dwg 0-00-XP-01) |  | عدد | 19 | #VALUE! | 1538 | فتحة تفتيش للصرف الصحي نوع أ خرسانة صب الموقع شاملة أغطية وإطارات من الحديد الزهر مع الدرج والأعمال الأخرى حسب المخطط | PLUMBING SYSTEMS | For External Use | Sewer Manholes & Covers |  | 1500
10.5.5 | S1.P1.OA.10.5.5 |  |  | LPG System | [5 empty] | شبكة غاز البيوتين المسال | PLUMBING SYSTEMS | LPG System
10.5.5.1 | S1.P1.OA.10.5.5.1 |  |  | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, and all accessories, concrete encasements, including trenches for buried pipes, and testing. | [5 empty] | أنابيب شبكة غاز االبتروليوم المسال (فولاذ كربوني) ، كاملة مع التوصيلات والعزل والعلاقات والدعامات والمستلزمات والتكسية الخرسانية وكافة المستلزمات الأخرى بما فيها خنادق التمديد تحت الأرض والإختبارات | PLUMBING SYSTEMS | LPG System | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, and all accessories, concrete encasements, including trenches for buried pipes, and testing.
10.5.5.1.1 | S1.P1.OA.10.5.5.1.1 |  | 32 mm diameter | 32 mm diameter |  | م ط | 121 | #VALUE! | 108 | قطر 32 ملم | PLUMBING SYSTEMS | LPG System | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, and all accessories, concrete encasements, including trenches for buried pipes, and testing. |  | 105
10.5.5.2 | S1.P1.OA.10.5.5.2 |  | LPG Steel Tanks,1750 liters capacity, complete with supports, pressure regulators, valves, gauges, and all other appurtenances, truck fill point assembly, including civil/structural works related thereto, testing, as shown on Dwg 1-XP-P-05 | LPG Steel Tanks,1750 liters capacity, complete with supports, pressure regulators, valves, gauges, and all other appurtenances, truck fill point assembly, including civil/structural works related thereto, testing, as shown on Dwg 1-XP-P-05 |  | رقم | 2 | #VALUE! | 18450 | صهريج غاز سائل ، سعة 1750 لتر كاملاً مع الدعامات ومنظم الضغط والصمامات ومحدد قياس و كافة المستلزمات الأخرى و جميع الملحقات و شاملة الأعمال المدنية والإنشائية المرتبطة والاختبارات حسب المخطط | PLUMBING SYSTEMS | LPG System | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, and all accessories, concrete encasements, including trenches for buried pipes, and testing. |  | 18000
10.5.6 | S1.P1.OA.10.5.6 |  | Bump Posts, 100 mm diameter x 1000 mm high steel pipe filled with concrete, painted | Bump Posts, 100 mm diameter x 1000 mm high steel pipe filled with concrete, painted |  | عدد | 20 | #VALUE! | 308 | عمود مانع للإرتطام بقطر 100 ملم وإرتفاع 1000 ملم ، أنبوب معدني قائم محشو بالخرسانة | PLUMBING SYSTEMS | LPG System | LPG Pipes (Carbon Steel), complete with all connections, insulation, hangers and supports, and all accessories, concrete encasements, including trenches for buried pipes, and testing. |  | 300
11 | S1.P1.OA.11 |  |  | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | [5 empty] | أنظمة التدفئة والتهوية والتكييف | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS
11.1 | S1.P1.OA.11.1 |  |  | Exhaust Fans, complete with all other appurtenances | [5 empty] | مراوح الشفط ، كاملة مع كافة المستلزمات الأخرى | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances
11.1.1 | S1.P1.OA.11.1.1 |  |  | @ Ground Floor | [5 empty] | بالدور الأرضي | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | @ Ground Floor
11.1.1.1 | S1.P1.OA.11.1.1.1 |  | EF - (1), air flow = 0.053 cms @ 30 pascals static pressure, mounted above window, propeller type with automatic gravity shutter | EF - (1), air flow = 0.053 cms @ 30 pascals static pressure, mounted above window, propeller type with automatic gravity shutter |  | عدد | 16 | #VALUE! | 1128 | مروحة شفط (1) ، إنسياب الهواء 0,053 م3/ث وضغط ساكن 30 باسكال تركيب فوق النافذة بريش بغطاء خلفي يعمل آلياً مع الجاذبية | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | @ Ground Floor |  | 1100
11.1.1.2 | S1.P1.OA.11.1.1.2 |  | EF - (2), air flow = 0.025 cms @ 30 pascals static pressure, mounted above window, propeller type with automatic gravity shutter | EF - (2), air flow = 0.025 cms @ 30 pascals static pressure, mounted above window, propeller type with automatic gravity shutter |  | عدد | 4 | #VALUE! | 1128 | مروحة شفط (2) ، إنسياب الهواء 0,025 م3/ث وضغط ساكن 30 باسكال تركيب فوق النافذة بريش بغطاء خلفي يعمل آلياً مع الجاذبية | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | @ Ground Floor |  | 1100
11.1.2 | S1.P1.OA.11.1.2 |  |  | @ First Floor | [5 empty] | بالدور الأول | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | @ First Floor
11.1.2.1 | S1.P1.OA.11.1.2.1 |  | EF - (1), air flow = 0.053 cms @ 30 pascals static pressure, mounted above window, propeller type with automatic gravity shutter | EF - (1), air flow = 0.053 cms @ 30 pascals static pressure, mounted above window, propeller type with automatic gravity shutter |  | عدد | 16 | #VALUE! | 1128 | مروحة شفط (1) ، إنسياب الهواء 0,053 م3/ث وضغط ساكن 30 باسكال تركيب فوق النافذة بريش بغطاء خلفي يعمل آلياً مع الجاذبية | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | @ First Floor |  | 1100
11.1.2.2 | S1.P1.OA.11.1.2.2 |  | EF - (2), air flow = 0.025 cms @ 30 pascals static pressure, mounted above window, propeller type with automatic gravity shutter | EF - (2), air flow = 0.025 cms @ 30 pascals static pressure, mounted above window, propeller type with automatic gravity shutter |  | عدد | 4 | #VALUE! | 1128 | مروحة شفط (2) ، إنسياب الهواء 0,025 م3/ث وضغط ساكن 30 باسكال تركيب فوق النافذة بريش بغطاء خلفي يعمل آلياً مع الجاذبية | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | @ First Floor |  | 1100
11.1.3 | S1.P1.OA.11.1.3 |  |  | @ Roof Deck | [5 empty] | بالسطح | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | @ Roof Deck
11.1.3.1 | S1.P1.OA.11.1.3.1 |  | EF - (3), air flow = 0.071 cms @ 75 pascals static pressure, roof mounted, centrifugal type, including ductworks thru roof and backdraft damper | EF - (3), air flow = 0.071 cms @ 75 pascals static pressure, roof mounted, centrifugal type, including ductworks thru roof and backdraft damper |  | عدد | 4 | #VALUE! | 5638 | مروحة شفط (3) ، إنسياب الهواء 0,071 م3/ث وضغط ساكن 75 باسكال تركيب بالسطح نوع يعمل بالطرد المركزي وتشمل مجاري التمديدات بغطاء خلفي | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | @ Roof Deck |  | 5500
11.2 | S1.P1.OA.11.2 |  |  | Split Type AirConditioning Units, complete with all refrigerant lines, insulations, condensate drains tap to nearest floor drain & nearest daylight, pipe sleeves, metal jackets, controls, wires & all other appurtenances, including all civil/structural works related thereto, testing, as shown on Dwg 5-01-M-01 TO M-03 | [5 empty] | مكيفات سبليت ، كاملة مع المستلزمات و شاملة جميع خطوط سائل التبريد، العزل، خطوط تصريف مياه التكييف لأقرب نقطة خارج المبنى وصلات الأنابيب، والأسلاك والتحكم وتصريف مياه التكثيف لأقرب نظام تصريف أرضي والمتطلبات الأخرى , الجيوب المعدنية وتشمل الأعمال المدنية والإنشائية المرتبطة بالعمل والإختبارات كما في المخطط | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | Split Type AirConditioning Units, complete with all refrigerant lines, insulations, condensate drains tap to nearest floor drain & nearest daylight, pipe sleeves, metal jackets, controls, wires & all other appurtenances, including all civil/structural works related thereto, testing, as shown on Dwg 5-01-M-01 TO M-03
11.2.1 | S1.P1.OA.11.2.1 |  | ACCU + FCU (1), 3.52 KW cooling capacity, wall mounted FCU, high level | ACCU + FCU (1), 3.52 KW cooling capacity, wall mounted FCU, high level |  | عدد | 9 | #VALUE! | 3280 | وحدات سبليت (1) ، سعة تبريد 3,52 كيلوات تركيب مرتفع بالجدار | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | Split Type AirConditioning Units, complete with all refrigerant lines, insulations, condensate drains tap to nearest floor drain & nearest daylight, pipe sleeves, metal jackets, controls, wires & all other appurtenances, including all civil/structural works related thereto, testing, as shown on Dwg 5-01-M-01 TO M-03 |  | 3200
11.2.2 | S1.P1.OA.11.2.2 |  | ACCU + FCU (2), 7.034 KW cooling capacity, wall mounted FCU, high level | ACCU + FCU (2), 7.034 KW cooling capacity, wall mounted FCU, high level |  | عدد | 48 | #VALUE! | 3793 | وحدات سبليت (2) ، سعة تبريد 7,034 كيلوات تركيب مرتفع بالجدار | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | Split Type AirConditioning Units, complete with all refrigerant lines, insulations, condensate drains tap to nearest floor drain & nearest daylight, pipe sleeves, metal jackets, controls, wires & all other appurtenances, including all civil/structural works related thereto, testing, as shown on Dwg 5-01-M-01 TO M-03 |  | 3700
11.2.3 | S1.P1.OA.11.2.3 |  | ACCU + FCU (3), 8.79 KW cooling capacity, wall mounted FCU, high level | ACCU + FCU (3), 8.79 KW cooling capacity, wall mounted FCU, high level |  | عدد | 8 | #VALUE! | 4818 | وحدات سبليت (3) ، سعة تبريد 8,79 كيلوات تركيب مرتفع بالجدار | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | Split Type AirConditioning Units, complete with all refrigerant lines, insulations, condensate drains tap to nearest floor drain & nearest daylight, pipe sleeves, metal jackets, controls, wires & all other appurtenances, including all civil/structural works related thereto, testing, as shown on Dwg 5-01-M-01 TO M-03 |  | 4700
11.3 | S1.P1.OA.11.3 |  | Ductworks of Kitchen Range Hood thru Wall, 254 mm x 82 mm x 4.0 m L, including louvers & other accessories | Ductworks of Kitchen Range Hood thru Wall, 254 mm x 82 mm x 4.0 m L, including louvers & other accessories |  | عدد | 8 | #VALUE! | 769 | مجاري تمديدات لغطاء المطبخ داخل الجدار ، 254ملم× 82ملم × 4,0 م ط ، شاملا الفتحات والمستلزمات الأخرى | HEATING, VENTILATING AND AIR CONDITIONING SYSTEMS | Exhaust Fans, complete with all other appurtenances | Split Type AirConditioning Units, complete with all refrigerant lines, insulations, condensate drains tap to nearest floor drain & nearest daylight, pipe sleeves, metal jackets, controls, wires & all other appurtenances, including all civil/structural works related thereto, testing, as shown on Dwg 5-01-M-01 TO M-03 |  | 750
12 | S1.P1.OA.12 |  |  | FIRE PROTECTION SYSTEMS | [5 empty] | أنظمة الحماية من الحريق | FIRE PROTECTION SYSTEMS
12.1 | S1.P1.OA.12.1 |  |  | Standpipe and Hose System | [5 empty] | أنابيب قائمة مع الخراطيم | Standpipe and Hose System